## Sheet1
STATEWIDE CONTRACT - CABLE13
COST SHEET
ITEM NUM. |  | QTY | BID Quantity | Unit | Description | Reference 3.2 *** | Unit Price | Extension Price
1 | 1000EA | 6 | 50 | EA | PLASTIC CABLE TIES; 7 15/16" IN LENGTH, 100PK 3-M PART # 3-M06226 OR EQUAL |  |  | 0
2 | 500EA | 5 | 200 | EA | VELCRO TYRAP WIRE TIES; 8" IN LENGTH; HELLERMAN TYTON PART # GT50X80P2 OR EQUAL |  |  | 0
3 | 1000EA | 6 | 500 | EA | CABLE SUPPORT J-HOOK; ERICO PART # CAT32 OR EQUAL |  |  | 0
4 | 200EA | 5 | 200 | EA | ELECTRICAL TAPE; 3-M SCOTCH SUPER 88 3M PART # 88-SUPER-3/4" X 66FT OR EQUAL |  |  | 0
5 |  |  | 50 | EA | 3M MOLDABLE PUTTY STIX PART # 3M-MPS-2+ OR EQUAL |  |  | 0
6 | 1000EA | 6 | 500 | EA | CABLE RETAINER CLIP; ERICO PART # CATCR50 OR EQUAL |  |  | 0
7 |  |  | 500 | EA | SINGLE GANG LOW VOLTAGE MOUNTING BRACKETS; ARLINGTON PART # LV-1 OR EQUAL |  |  | 0
8 | 50EA | 4 | 30 | EA | 3/4"W X 25YDS LONG BLACK VELCRO IN A ROLL VELCRO PART# 189645 OR EQUAL |  |  | 0
9 | 25EA | 4 | 10 | EA | 3M WIRE MARKER DISPENSER 0 THRU 9 ON A ROLL 3-M PART # STD-0-9 (FILLED) OR EQUAL |  |  | 0
10 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 0 PART# SDR-0 OR EQUAL |  |  | 0
11 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 1 PART# SDR-1 OR EQUAL |  |  | 0
12 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 2 PART# SDR-2 OR EQUAL |  |  | 0
13 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 3 PART# SDR-3 OR EQUAL |  |  | 0
14 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 4 PART# SDR-4 OR EQUAL |  |  | 0
15 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 5 PART# SDR-5 OR EQUAL |  |  | 0
16 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 6 PART# SDR-6 OR EQUAL |  |  | 0
17 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 7 PART# SDR-7 OR EQUAL |  |  | 0
18 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 8 PART# SDR-8 OR EQUAL |  |  | 0
19 | 25EA | 4 | 30 | EA | 3M WIREMARKER NUMBER REFILL FOR STD-0-9 NUMBER 9 PART# SDR-9 OR EQUAL |  |  | 0
20 | 1200FT | 6 | 100 | EA | ADJUSTABLE CABLE SUPPORT; ERICO PART#CAT425 OR EQUAL |  |  | 0
21 | 50EA | 4 | 20 | EA | PHILLIPS HEAD 3/4" LONG 10-32 RACK SCREWS W/WASHERS 100PK MIDDLE ATLANTIC PRODUCTS PART # HP OR EQUAL |  |  | 0
22 |  |  | 20 | EA | VERTICAL WIRE MANAGER FOR 19" OR 23" RELAY RACKS MOUNTING HARDWARE INCLUDED GREAT LAKES PART# 1984-VCM OR EQUAL |  |  | 0
23 | 25EA | 4 | 20 | EA | VERTICAL WIRE MANAGER FOR 19" OR 23" RELAY RACKS MOUNTING HARDWARE INCLUDED CHATSWORTH PART# 12096-703 OR EQUAL |  |  | 0
24 | 25EA | 4 | 20 | EA | VERTICAL WIRE MANAGER FOR 19" OR 23" RELAY RACKS MOUNTING HARDWARE INCLUDED AFCO SYSTEMS PART# AS-CTRG-84-WBLK OR EQUAL |  |  | 0
25 |  |  | 20 | EA | VERTICAL WIRE MANAGER FOR 19" OR 23" RELAY RACKS MOUNTING HARDWARE INCLUDED SOUTHWEST PART# SWE2729BLK OR EQUAL |  |  | 0
26 | 40EA | 4 | 40 | EA | DISTRIBUTION RACKS; ALUMINUM BASE COLOR OF BLACK MUST BE APPROXIMATELY 15" IN DEPTH; APPROXIMATELY 20" IN WIDTH; & 84" HEIGHT GREAT LAKES PART# GLRR-1984BA OR EQUAL |  |  | 0
27 |  |  | 40 | EA | DISTRIBUTION RACKS; ALUMINUM BASE COLOR OF BLACK MUST BE APPROXIMATELY 15" IN DEPTH; APPROXIMATELY 20" IN WIDTH; & 84" HEIGHT. CHATSWORTH PART# 46353-703 OR EQUAL |  |  | 0
28 |  |  | 10 | EA | 48" WALL MOUNT SWING OUT RACK; GREAT LAKES PART # GL48SR OR EQUAL |  |  | 0
29 |  |  | 10 | EA | 36" WALL MOUNT SWING OUT RACK; GREAT LAKES PART # GL36SR OR EQUAL |  |  | 0
30 |  |  | 10 | EA | 24" WALL MOUNT SWING OUT RACK; GREAT LAKES PART # GL24SR OR EQUAL |  |  | 0
31 | 10EA | 4 | 10 | EA | 84" NETWORKING CABINET; CABINET WILL INCLUDE THE FOLLOWING: CASTERS, LEVELERS, GROUND LUG, TWO PAIR SQUARE HOLE RAILS, M6 HARDWARE, BOTTOM GLAND, TOP GLAND, 10IN FAN TOP, PERFORATED MESH FRONT DOOR, PERFORATED MESH REAR DOOR, TWO SOLID SIDE PANELS, TWO 9411-1602 POWER STRIPS INTERNAL 8729-PD-3 FRONT, 8429-PR-3-0001 SPOTWELDED REAR TWO 8436-01-SP-3 SIDES. BELDEN PART# XDP84-3-1S0046 OR EQUAL |  |  | 0
32 |  |  | 10 | EA | 72" NETWORKING CABINET; CABINET WILL INCLUDE THE FOLLOWING: CASTERS, LEVELERS, GROUND LUG, TWO PAIR SQUARE HOLE RAILS, M6 HARDWARE, BOTTOM GLAND, TOP GLAND, 10IN FAN TOP, PERFORATED MESH FRONT DOOR, PERFORATED MESH REAR DOOR, TWO SOLID SIDE PANELS, TWO 9411-1602 POWER STRIPS INTERNAL 8729-PD-3 FRONT, 8429-PR-3-0001 SPOTWELDED REAR TWO 8436-01-SP-3 SIDES. BELDEN PART# XDP72-3-1S0012 OR EQUAL |  |  | 0
33 | 10EA | 4 | 10 | EA | 84" NETWORKING CABINET; BASE UNIT WITH LOUVERED TOP; PLEXIGLAS VENTED FRONT DOOR W/LOCK; UPPER HALF LOUVERED STEEL REAR DOOR W/LOCK; SOLID REMOVABLE SIDE PANELS; TWO PAIR 19" MOUNTING RAILS W/BRACKETS & MOUNTING SCREWS; COLOR BLACK OR GREY; 16 POSITION POWER STRIP W / CIRCUIT BREAKER & 12' CORD; CASTERS; 84"H X 29" W X 36" D; GREAT LAKES PART # 840E-2936WVCC OR EQUAL |  |  | 0
34 | 10EA | 4 | 10 | EA | 72" NETWORKING CABINET; BASE UNIT WITH LOUVERED TOP; PLEXIGLAS VENTED FRONT DOOR W/LOCK; UPPER HALF LOUVERED STEEL REAR DOOR W/LOCK; PAIR OF SOLID REMOVABLE SIDE PANELS; TWO PAIR 19" MOUNTING RAILS W/BRACKETS & MOUNTING SCREWS; COLOR BLACK OR GREY; 16 POSITION POWER STRIP W / CIRCUIT BREAKER & 12' CORD; CASTERS; 72"H X 29" W X 36" D GREAT LAKES PART # 720E-2936WVCC OR EQUAL |  |  | 0
35 | 5EA | 3 | 5 | EA | 48" NETWORKING CABINET; BASE UNIT WITH LOUVERED TOP; PLEXIGLAS VENTED FRONT DOOR W/LOCK; UPPER HALF LOUVERED STEEL REAR DOOR W/LOCK; PAIR OF SOLID REMOVABLE SIDE PANELS; TWO PAIR 19" MOUNTING RAILS W/BRACKETS & MOUNTING SCREWS; COLOR BLACK OR GREY; 6 POSITION POWER STRIP W / CIRCUIT BREAKER & 12' CORD; CASTERS; 48"H X 24" W X 32" D GREAT LAKES PART # 480E-2432WVCC OR EQUAL |  |  | 0
36 | 10EA | 4 | 10 | EA | STATIONARY SHELVES FOR 19" MOUNTING IN NETWORKING CABINETS; GREAT LAKES PART # 7206-FM OR EQUAL |  |  | 0
37 | 25EA | 4 | 20 | EA | FAN ASSEMBLY W/FAN GUARDS & THREE 75 CFM FANS FOR NETWORKING CABINETS; GREAT LAKES PART # TPE-24F OR EQUAL |  |  | 0
38 | 1000 FT | 8 | 1000 | FT | RACEWAY MOLDING; ONE-PIECE; NON-METALLIC; 3/4" WIDTH; 6 FT. LENGTH; DEKDUCT PART # 043-LD00 OR EQUAL |  |  | 0
39 | 1000 FT | 8 | 1000 | FT | RACEWAY MOLDING; ONE-PIECE; NON-METALLIC; 1 1/2" WIDTH; 6 FT. LENGTH; DEKDUCT PART # 042-LD00 OR EQUAL |  |  | 0
40 | 1000 FT | 8 | 1000 | FT | RACEWAY MOLDING; ONE-PIECE; NON-METALLIC; 2 1/2" WIDTH; 6 FT. LENGTH; DEKDUCT PART # 045-LD00 OR EQUAL |  |  | 0
41 |  |  | 1000 | FT | RACEWAY MOLDING; TWO-PIECE; NON-METALLIC; 4" WIDTH X 2" DEPTH; DEKDUCT PART # 046-4020DWP OR EQUAL |  |  | 0
42 |  |  | 20000 | FT | 25 PAIR PLENUM CATEGORY 3 CABLE SUPERIOR ESSEX PART# WCETEL24/25PC3P OR EQUAL |  |  | 0
43 |  |  | 20000 | FT | 50 PAIR PLENUM CATEGORY 3 CABLE SUPERIOR ESSEX PART# WCETEL24/50PC3P OR EQUAL |  |  | 0
44 |  |  | 20000 | FT | 100 PAIR PLENUM CATEGORY 3 CABLE SUPERIOR ESSEX PART# WCETEL24/100PC3P OR EQUAL |  |  | 0
45 | 50,000 FT | 9 | 100000 | FT | CAT. 5e MIN COMPLIANT PVC CABLE; NON-PLENUM; WHITE IN COLOR; 1,000 FT. PER EASY PULL BOX; MOHAWK PART # M57554 OR EQUAL | *** |  | 0
46 | 50,000 FT | 9 | 200000 | FT | CAT. 5e MIN COMPLIANT CABLE; PLENUM; WHITE IN COLOR; 1,000 FT. PER EASY PULL BOX; MOHAWK PART # M57547 OR EQUAL | *** |  | 0
47 | 2000EA | 6 | 3000 | EA | QUICK PORT 8P8C MODULAR RJ45 JACKS FOR CAT5e MIN COMPLIANT; WHITE IN COLOR BUT SELECTION OF COLORS MUST BE AVAILABLE; LEVITON PART # 5G108-RW5 OR EQUAL | *** |  | 0
48 | 500,000 FT | 10 | 200000 | FT | CAT. 5E ENHANCED CABLE; NON-PLENUM RISER RATED; EASY PULL BOX ONLY; 1000 FT. PER BOX; SELECTION OF COLORS MUST BE AVAILABLE FOR OUTER JACKET; ELECTRICAL CHARACTERISTICS / SPECIFICATIONS SHEET MUST BE SUPPLIED. MEGALAN 400 MOHAWK PART# M56167 OR EQUAL | *** |  | 0
49 | 300,000 FT | 10 | 300,000 | FT | CAT. 5E ENHANCED CABLE; PLENUM; EASY PULL BOX ONLY; 1000 FT. PER BOX; SELECTION OF COLORS MUST BE AVAILABLE FOR OUTER JACKET; ELECTRICAL CHARACTERISTICS / SPECIFICATIONS SHEET MUST BE SUPPLIED. MEGALAN 400 MOHAWK PART# M56168 OR EQUAL | *** |  | 0
50 |  |  | 3000 | EA | LEVITON QUICKPORT 8P8C MODULAR RJ45 JACKS FOR CAT5E ENHANCED; ORANGE IN COLOR BUT SELECTION OF COLORS MUST BE AVAILABLE; LEVITON PART # 5G110-RO5 OR EQUAL | *** |  | 0
51 |  |  | 200 | EA | CAT 5E ENHANCED 1FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 553-130-001 OR EQUAL |  |  | 0
52 | 200EA | 5 | 200 | EA | CAT 5E ENHANCED 3FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-003 OR EQUAL |  |  | 0
53 | 200EA | 5 | 200 | EA | CAT 5E ENHANCED 5FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-005 OR EQUAL |  |  | 0
54 | 200EA | 5 | 200 | EA | CAT 5E ENHANCED 7FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-007 OR EQUAL |  |  | 0
55 | 200EA | 5 | 200 | EA | CAT 5E ENHANCED 10FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-010 OR EQUAL
56 |  |  | 200 | EA | CAT 5E ENHANCED 14FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-014 OR EQUAL |  |  | 0
57 |  |  | 200 | EA | CAT 5E ENHANCED 25FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-025 OR EQUAL |  |  | 0
58 |  |  | 100 | EA | CAT 5E ENHANCED 50FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART# 553-130-050 OR EQUAL |  |  | 0
59 | 1000EA | 6 | 500 | EA | CAT 5E ENHANCED 350MHZ PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 1 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 570-110-001 OR EQUAL |  |  | 0
60 |  |  | 500 | EA | CAT 5E ENHANCED 350MHZ PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 18 INCHES IN LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 551-110-18IN OR EQUAL |  |  | 0
61 | 2000EA | 6 | 2000 | EA | CAT. 5E GIGAMAX PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 3 FOOT LENGTH; LEVITON PART# 5G460-03* (* - COLOR) OR EQUAL |  |  | 0
62 | 2000EA | 6 | 1000 | EA | CAT. 5E GIGAMAX PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 5 FOOT LENGTH; LEVITON PART# 5G460-05* (* - COLOR) OR EQUAL |  |  | 0
63 | 2000EA | 6 | 2000 | EA | CAT. 5E GIGAMAX PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 7 FOOT LENGTH; LEVITON PART# 5G460-07* (* - COLOR) OR EQUAL |  |  | 0
64 | 1000EA | 6 | 1000 | EA | CAT. 5E GIGAMAX PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 10 FOOT LENGTH; LEVITON PART# 5G460-10* (* - COLOR) OR EQUAL |  |  | 0
65 | 1000EA | 6 | 1000 | EA | CAT. 5E GIGAMAX PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 15 FOOT LENGTH; LEVITON PART# 5G460-15* (* - COLOR) OR EQUAL |  |  | 0
66 | 1000EA | 6 | 500 | EA | CAT. 5E ENHANCED 350MHZ PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 25 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART # 551-XXX-025 OR EQUAL (XXX=COLOR) |  |  | 0
67 | 1000EA | 6 | 100 | EA | CAT 5E ENHANCED 350MHZ PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 50 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 551-XXX-050 OR EQUAL (XXX=COLOR) |  |  | 0
68 | 500EA | 5 | 100 | EA | CAT. 5E ENHANCED 350MHZ PATCH CABLES; RJ45M TO RJ45M BOOTED; NON-KEYED; 100 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 551-XXX-100 OR EQUAL (XXX=COLOR) |  |  | 0
69 | 20EA | 4 | 50 | EA | LEVITON QUICKPORT HIGH DENSITY 48-PORT PATCH PANEL W/CABLE MANAGEMENT BAR LEVITON PART# 49255-H48 OR EQUAL |  |  | 0
70 | 20EA | 4 | 50 | EA | LEVITON QUICKPORT HIGH DENSITY 24-PORT PATCH PANEL W/CABLE MANAGEMENT BAR LEVITON PART# 49255-H24 OR EQUAL |  |  | 0
71 |  |  | 50 | EA | LEVITON QUICKPORT HIGH DENSITY 12-PORT PATCH PANEL LEVITON PART#49255-H89 OR EQUAL |  |  | 0
72 | 20EA | 4 | 100 | EA | LEVITON 48-PORT 8P8C RJ45 CAT.5E RACKMOUNT PATCH PANEL; MUST BE CAT5E ENHANCED CERTIFIED; LEVITON PART# 5G596-U48 OR EQUAL | *** |  | 0
73 | 100EA | 5 | 100 | EA | LEVITON 24-PORT 8P8C RJ45 CAT.5E RACKMOUNT PATCH PANEL; MUST BE CAT5E ENHANCED CERTIFIED; LEVITON PART # 5G596-U24 OR EQUAL | *** |  | 0
74 | 40EA | 4 | 50 | EA | LEVITON 12-PORT 8P8C RJ45 CAT.5E RACKMOUNT PATCH PANEL; MUST BE CAT5E ENHANCED CERTIFIED; LEVITON PART # 5G596-U12 OR EQUAL | *** |  | 0
75 | 50EA | 4 | 50 | EA | LEVITON 12-PORT 8P8C RJ45 CAT5E WALL MT. PATCH PANEL; MUST BE CAT5E ENHANCED CERTIFIED; LEVITON PART # 5G596-U89 OR EQUAL | *** |  | 0
76 | 50EA | 4 | 20 | EA | SIEMON 12-PORT PATCH PANEL; MUST BE CAT.5E CERTIFIED; SIEMON #HD5-89D-12 OR EQUAL |  |  | 0
77 |  |  | 200 | EA | SIEMON RACK MT. 1U WIRE MANAGER PART# S110-RWM-01 OR EQUAL |  |  | 0
78 |  |  | 20 | EA | SIEMON WIRE MANAGER; STANDARD INTERBAY CORD MANAGER; SIEMON WM-144-5 OR EQUAL |  |  | 0
79 | 50EA | 4 | 20 | EA | 2-POSITION HINGED FIXED BRACKETS FOR WALL; DATATEL PART # HPM-2 OR EQUAL |  |  | 0
80 | 100EA | 5 | 100 | EA | WIRE MANAGER; STANDARD INTERBAY CORD MANAGER; DATATEL PART # HCM-1D OR EQUAL |  |  | 0
81 | 400,000 FT | 10 | 200000 | FT | CAT 6 ENHANCED CABLE; NON-PLENUM; EASY PULL BOX ONLY; 1,000 FT. PER BOX; SELECTION OF COLORS MUST BE AVAILABLE FOR OUTER JACKET; ELECTRICAL CHARACTERISTICS / SPECIFICATIONS SHEET MUST BE SUPPLIED. CAT 6 ADVANCENET MOHAWK PART# M57202 OR EQUAL | *** |  | 0
82 | 300,000 FT | 10 | 300,000 | FT | CAT 6 ENHANCED CABLE; PLENUM; EASY PULL BOX ONLY; 1,000 FT. PER BOX; SELECTION OF COLORS MUST BE AVAILABLE FOR OUTER JACKET; ELECTRICAL CHARACTERISTICS / SPECIFICATIONS SHEET MUST BE SUPPLIED. CAT 6 ADVANCENET MOHAWK PART# M57193 OR EQUAL | *** |  | 0
83 | 5000EA | 6 | 5000 | EA | QUICKPORT CAT6 EXTREME 8P8C RJ45 SNAP-IN CONNECTOR; BLUE IN COLOR BUT SELECTION OF COLORS MUST BE AVAILABLE; LEVITON PART # 61110-RL6 OR EQUAL | *** |  | 0
84 |  |  | 100 | EA | CAT 6 EXTREME 1FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-001 OR EQUAL |  |  | 0
85 |  |  | 200 | EA | CAT 6 EXTREME 3FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-003 OR EQUAL |  |  | 0
86 |  |  | 100 | EA | CAT 6 EXTREME 5FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-005 OR EQUAL |  |  | 0
87 |  |  | 200 | EA | CAT 6 EXTREME 7FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-007 OR EQUAL |  |  | 0
88 |  |  | 200 | EA | CAT 6 EXTREME 10FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-010 OR EQUAL |  |  | 0
89 |  |  | 200 | EA | CAT 6 EXTREME 15FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-015 OR EQUAL |  |  | 0
90 |  |  | 100 | EA | CAT 6 EXTREME 25FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-025 OR EQUAL |  |  | 0
91 |  |  | 50 | EA | CAT 6 EXTREME 50FT CROSSOVER CABLE RED IN COLOR QUIKTRON PART # 538-130-050 OR EQUAL |  |  | 0
92 |  |  | 200 | EA | CAT. 6 EXTREME 650MHZ PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 18 INCHES IN LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 576-XXX-18IN OR EQUAL (XXX=COLOR) |  |  | 0
93 | 500EA | 5 | 200 | EA | CAT. 6 EXTREME 650MHZ PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 1 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 576-XXX-001 OR EQUAL (XXX=COLOR) |  |  | 0
94 | 400EA | 5 | 400 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 3 FOOT LENGTH; LEVITON PART # 62460-03* (*-COLOR) OR EQUAL |  |  | 0
95 |  |  | 400 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 5 FOOT LENGTH; LEVITON PART # 62460-05* (*-COLOR) OR EQUAL |  |  | 0
96 | 400EA | 5 | 400 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 7 FOOT LENGTH; LEVITON PART # 62460-07* (*-COLOR) OR EQUAL |  |  | 0
97 | 200EA | 5 | 200 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 10 FOOT LENGTH; LEVITON PART # 62460-10* (*-COLOR) OR EQUAL |  |  | 0
98 | 100EA | 5 | 100 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 15 FOOT LENGTH; LEVITON PART # 62460-15* (*-COLOR) OR EQUAL |  |  | 0
99 |  |  | 50 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 20 FOOT LENGTH; LEVITON PART # 62460-20* (*-COLOR) OR EQUAL |  |  | 0
100 |  |  | 50 | EA | CAT. 6 EXTREME PATCH CABLES; RJ45M TO RJ45M; NON-KEYED; 50 FOOT LENGTH; SELECTION OF COLORS SHALL BE AVAILABLE FOR OUTER JACKET QUIKTRON PART# 576-XXX-050 OR EQUAL (XXX=COLOR) |  |  | 0
101 | 100EA | 5 | 50 | EA | LEVITON 48-PORT 8P8C RJ45 PATCH PANEL; MUST BE CAT. 6 ENHANCED CERTIFIED; LEVITON PART # 69586-U48 OR EQUAL | *** |  | 0
102 | 50EA | 4 | 50 | EA | LEVITON 24-PORT 8P8C RJ45 PATCH PANEL; MUST BE CAT. 6 ENHANCED CERTIFIED; LEVITON PART # 69586-U24 OR EQUAL | *** |  | 0
103 | 40EA | 4 | 50 | EA | LEVITON 12-PORT PATCH PANEL; MUST BE CAT. 6 ENHANCED CERTIFIED; LEVITON PART # 69586-U12 OR EQUAL | *** |  | 0
104 | 50EA | 4 | 50 | EA | LEVITON 12-PORT 8P8C RJ45 CAT6 WALL MT. PATCH PANEL; MUST BE CAT6 ENHANCED CERTIFIED; LEVITON PART # 69586-U89 OR EQUAL | *** |  | 0
105 | 500EA | 5 | 1000 | EA | 2-PORT SURFACE MOUNT BOX; LEVITON PART # 41089-2*P (*-COLOR) OR EQUAL |  |  | 0
106 |  |  | 100 | EA | 4-PORT SURFACE MOUNT BOX; LEVITON PART # 41089-4*P (*-COLOR) OR EQUAL |  |  | 0
107 | 100EA | 5 | 100 | EA | SINGLE GANG IVORY BLANK WALL PLATE; LEVITON PART# 86014 OR EQUAL |  |  | 0
108 | 100EA | 5 | 100 | EA | SINGLE GANG WHITE BLANK WALL PLATE; LEVITION PART# 88014 OR EQUAL |  |  | 0
109 |  |  | 100 | EA | QUICKPORT STAINLESS STEEL FLUSH WALLPHONE WALLPLATE; LEVITON PART# 4108W-0SP OR EQUAL |  |  | 0
110 | 1000EA | 6 | 500 | EA | 1-PORT WALLPLATES; LEVITON PART # 41080-1*P (*-COLOR) OR EQUAL |  |  | 0
111 | 2000EA | 6 | 1000 | EA | 2-PORT WALLPLATES; LEVITON PART # 41080-2*P (*-COLOR) OR EQUAL |  |  | 0
112 | 100EA | 5 | 100 | EA | 3-PORT WALLPLATES; LEVITON PART # 41080-3*P (*-COLOR) OR EQUAL |  |  | 0
113 | 100EA | 5 | 100 | EA | 4-PORT WALLPLATES; LEVITON PART # 41080-4*P (*-COLOR) OR EQUAL |  |  | 0
114 | 50EA | 4 | 50 | EA | 6-PORT WALLPLATES; LEVITON PART # 41080-6*P (*-COLOR) OR EQUAL |  |  | 0
115 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 48-STRAND I/O MULTIMODE 62.5/125 OCC PART # DX048-105D-WLS/900-OFNR OR CORNING PART # 048KWF-T4130D20 OR EQUAL |  |  | 0
116 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 24-STRAND I/O MULTIMODE 62.5/125 OCC PART # DX024-085D-WLS/900-OFNR OR CORNING PART # 024K8F-31130-24 OR EQUAL |  |  | 0
117 | 4000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 12-STRAND I/O MULTIMODE 62.5/125 OCC PART # DX012-065D-WLS/900-OFNR OR CORNING PART # 012K8F-31130-24 OR EQUAL |  |  | 0
118 | 4000 FT | 8 | 5000 | FT | FIBER OPTIC CABLE 6-STRAND I/O MULTIMODE 62.5/125 OCC PART # DX006-055D-WLS/900-OFNR OR CORNING PART # 006K8F-31130-24 OR EQUAL |  |  | 0
119 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 48-STRAND I/O PLENUM RATED MULTIMODE 62.5/125 OCC PART # DX048-095K-WLS/900-OFNP OR CORNING PART # 048KWP-T4130D20 OR EQUAL |  |  | 0
120 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 24-STRAND I/O PLENUM RATED MULTIMODE 62.5/125 OCC PART # DX24-075K-WLS/900/OFNP OR CORNING PART # 024K8P-31130-29 OR EQUAL |  |  | 0
121 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 12-STRAND I/O PLENUM RATED MULTIMODE 62.5/125 OCC PART # DX12-060K-WLS/900-OFNP OR CORNING PART # 012K8P-31130-29 OR EQUAL |  |  | 0
122 | 5000 FT | 7 | 5000 | FT | FIBER OPTIC CABLE 6-STRAND I/O PLENUM RATED MULTIMODE 62.5/125 OCC PART # DX06-045K-WLS/900-OFNP OR CORNING PART # 006K8P-31130-29 OR EQUAL |  |  | 0
123 |  |  | 5000 | FT | FIBER OPTIC CABLE 48-STRAND INDOOR/OUTDOOR ARMORED MULTIMODE 62.5/125 OCC PART # DX48-105D-WLS/900-OFCR-IAD OR CORNING PART # 048KWF-T4130DA1 OR EQUAL |  |  | 0
124 |  |  | 5000 | FT | FIBER OPTIC CABLE 24-STRAND INDOOR/OUTDOOR ARMORED MULTIMODE 62.5/125 OCC PART # DX24-085D-WLS/900-OFCR-IAD OR CORNING PART # 024K8F-31130-A1 OR EQUAL |  |  | 0
125 |  |  | 5000 | FT | FIBER OPTIC CABLE 12-STRAND INDOOR/OUTDOOR ARMORED MULTIMODE 62.5/125 OCC PART # DX12-065D-WLS/900-OFCR-IAD OR CORNING PART # 012K8F-31130-A1 OR EQUAL |  |  | 0
126 |  |  | 5000 | FT | FIBER OPTIC CABLE 6-STRAND INDOOR/OUTDOOR ARMORED MULTIMODE 62.5/125 OCC PART # DX06-055D-WLS/900-OFCR-IAD OR CORNING PART # 006K8F-31130-A1 OR EQUAL |  |  | 0
127 | 5000 FT | 8 | 5000 | FT | FIBER OPTIC CABLE 48-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED MULTIMODE 62.5/125 OCC PART # DX48-095K-WLS/900-OFCP-IAK OR CORNING PART # 048KWP-T4130DA1 OR EQUAL |  |  | 0
128 | 5000 FT | 8 | 5000 | FT | FIBER OPTIC CABLE 24-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED MULTIMODE 62.5/125 OCC PART # DX24-070K-WLS/900-OFCP-IAK OR CORNING PART # 024K8P-31130-A3 OR EQUAL |  |  | 0
129 | 5000 FT | 8 | 5000 | FT | FIBER OPTIC CABLE 12-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED MULTIMODE 62.5/125 OCC PART # DX12-060K-WLS/900-OFCP-IAK OR CORNING PART # 012K8P-31130-A3 OR EQUAL |  |  | 0
130 | 5000 FT | 8 | 5000 | FT | FIBER OPTIC CABLE 6-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED MULTIMODE 62.5/125 OCC PART # DX06-050K-WLS/900-OFCP-IAK OR CORNING PART # 006K8P-31130-A3 OR EQUAL |  |  | 0
131 | 5000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 24-STRAND OUTDOOR AERIAL W / 1/4" MESSENGER MULTIMODE 62.5/125 OCC PART # MX24-095A-WLS/900-JGS OR CORNING PART # 024KWA-T4130D20 OR EQUAL |  |  | 0
132 | 5000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND OUTDOOR AERIAL W / 1/4"MESSENGER MULTIMODE 62.5/125 OCC PART # MX12-090A-WLS/900-JGS OR CORNING PART # 012KWA-T4130D20 OR EQUAL |  |  | 0
133 | 5000 FT | 7 | 3000 | FT | FIBER OPTIC CABLE 6-STRAND OUTDOOR AERIAL W / 1/4" MESSENGER MULTIMODE 62.5/125 OCC PART # MX06-090A-WLS/900-JGS OR CORNING PART # 006KWA-T4130D20 OR EQUAL |  |  | 0
134 |  |  | 3000 | FT | FIBER OPTIC CABLE 48-STRAND INDOOR/OUTDOOR MULTIMODE 50/125 OCC PART # DX048-105D-ALS/900-OFNR OR CORNING PART # 048CWF-T4131D20 OR EQUAL |  |  | 0
135 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 24-STRAND INDOOR/OUTDOOR MULTIMODE 50/125 OCC PART # DX024-085D-ALS/900-OFNR OR CORNING PART # 024C8F-31131-24 OR EQUAL |  |  | 0
136 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND INDOOR/OUTDOOR MULTIMODE 50/125 OCC PART # DX012-065D-ALS/900-OFNR OR CORNING PART # 012C8F-31131-24 OR EQUAL |  |  | 0
137 | 3000 FT | 7 | 3000 | FT | FIBER OPTIC CABLE 6-STRAND INDOOR/OUTDOOR MULTIMODE 50/125 OCC PART # DX006-055D-ALS/900-OFNR OR CORNING PART # 006C8F-31131-24 OR EQUAL |  |  | 0
138 |  |  | 3000 | FT | FIBER OPTIC CABLE 48-STRAND I/O PLENUM RATED MULTIMODE 50/125 OCC PART # DX048-095K-ALS/900-OFNP OR CORNING PART # 048CWP-T4131D20 OR EQUAL |  |  | 0
139 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O PLENUM RATED MULTIMODE 50/125 OCC PART # DX024-070K-ALS/900-OFNP OR CORNING PART # 024C8P-31131-29 OR EQUAL |  |  | 0
140 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O PLENUM RATED MULTIMODE 50/125 OCC PART # DX012-060K-ALS/900-OFNP OR CORNING PART # 012C8P-31131-29 OR EQUAL |  |  | 0
141 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O PLENUM RATED MULTIMODE 50/125 OCC PART # DX006-045K-ALS/900-OFNP OR CORNING PART # 006C8P-31131-29 OR EQUAL |  |  | 0
142 |  |  | 3000 | FT | FIBER OPTIC CABLE 48-STRAND I/O 50UM MULTIMODE ARMORED OCC PART # DX48-105D-ALS/900-OFCR-IAD OR CORNING PART # 048CWF-T4131DA1 OR EQUAL |  |  | 0
143 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O 50UM MULTIMODE ARMORED OCC PART # DX24-085D-ALS/900-OFCR-IAD OR CORNING PART # 024C8F-31131-A1 OR EQUAL |  |  | 0
144 |  |  | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O 50UM MULTIMODE ARMORED OCC PART# DX12-065D-ALS/900-OFCR-IAD OR CORNING PART # 012C8F-31131-A1 OR EQUAL |  |  | 0
145 |  |  | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O 50UM MULTIMODE ARMORED OCC PART # DX06-055D-ALS/900-OFCR-IAD OR CORNING PART # 006C8F-31131-A1 OR EQUAL |  |  | 0
146 |  |  | 3000 | FT | FIBER OPTIC CABLE 48-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED 50UM MULTIMODE OCC PART # DX48-095K-ALS/900-OFCP-IAK OR CORNING PART # 048CWP-T4131DA1 OR EQUAL |  |  | 0
147 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED 50UM MULTIMODE OCC PART # DX24-070K-ALS/900-OFCP-IAK OR CORNING PART # 024C8P-31131-A3 OR EQUAL |  |  | 0
148 |  |  | 3000 | FT | FIBER OPTIC CABLE 12-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED 50UM MULTIMODE OCC PART # DX12-060K-ALS/900-OFCP-IAK OR CORNING PART # 012C8P-31131-A3 OR EQUAL |  |  | 0
149 |  |  | 3000 | FT | FIBER OPTIC CABLE 6-STRAND INDOOR/OUTDOOR ARMORED PLENUM COATED 50UM MULTIMODE OCC PART # DX06-050K-ALS/900-OFCP-IAK OR CORNING PART # 006C8P-31131-A3 OR EQUAL |  |  | 0
150 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND OUTDOOR AERIAL/DUCT MULTIMODE 50/125 OCC PART # DX012-075A-ALS/900 OR CORNING PART # 012CW4-T4131D20 OR EQUAL |  |  | 0
151 | 3000 FT | 8 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND OUTDOOR AERIAL W/MESSENGER MULTIMODE 50/125 OCC PART # M12-090A-ALS/900-JGS OR CORNING PART # 012CWA-T4131D20 OR EQUAL |  |  | 0
152 | 3000 FT | 7 | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O SINGLEMODE 9/125 OCC PART # DX24-085D-SLX/900-OFNR-WB OR CORNING PART # 024E8F-31131-24 OR EQUAL |  |  | 0
153 | 3000 FT | 7 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O SINGLEMODE 9/125 OCC PART # DX12-065D-SLX/900-OFNR-WB OR CORNING PART # 012E8F-31131-24 OR EQUAL |  |  | 0
154 | 3000 FT | 7 | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O SINGLEMODE 9/125 OCC PART # DX06-055D-SLX/900-OFNR-WB OR CORNING PART # 006E8F-31131-24 OR EQUAL |  |  | 0
155 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O PLENUM RATED SINGLEMODE 9/125 OCC PART # DX24-070K-SLX/900-OFNP-WB OR CORNING PART # 024E8P-31131-29 OR EQUAL |  |  | 0
156 |  |  | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O PLENUM RATED SINGLEMODE 9/125 OCC PART # DX12-060K-SLX/900-OFNP-WB OR CORNING PART # 012E8P-31131-29 OR EQUAL |  |  | 0
157 |  |  | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O PLENUM RATED SINGLEMODE 9/125 OCC PART # DX06-045K-SLX/900-OFNP-WB OR CORNING PART # 006E8P-31131-29 OR EQUAL |  |  | 0
158 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O ARMORED SINGLEMODE 9/125 OCC PART # DX24-085D-SLX/900-OFCR-IAD OR CORNING PART # 024E8F-31131-A1 OR EQUAL |  |  | 0
159 | 3000FT | 6 | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O ARMORED SINGLEMODE 9/125 OCC PART # DX12-070D-SLX/900-OFCR-IAD OR CORNING PART # 012E8F-31131-A1 OR EQUAL |  |  | 0
160 |  |  | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O ARMORED SINGLEMODE 9/125 OCC PART # DX06-060D-SLX/900-OFCR-IAD OR CORNING PART # 006E8F-31131-A1 OR EQUAL |  |  | 0
161 |  |  | 3000 | FT | FIBER OPTIC CABLE 24-STRAND I/O ARMORED PLENUM RATED SINGLEMODE 9/125 OCC PART # DX24-070K-SLX/900-OFCP-IAK OR CORNING PART # 024E8P-31131-A3 OR EQUAL |  |  | 0
162 |  |  | 3000 | FT | FIBER OPTIC CABLE 12-STRAND I/O ARMORED PLENUM RATED SINGLEMODE 9/125 OCC PART # DX12-060K-SLX/900-OFCP-IAK OR CORNING PART # 012E8P-31131-A3 OR EQUAL |  |  | 0
163 |  |  | 3000 | FT | FIBER OPTIC CABLE 6-STRAND I/O ARMORED PLENUM RATED SINGLEMODE 9/125 OCC PART # DX06-050K-SLX/900-OFCP-IAK OR CORNING PART # 006E8P-31131-A3 OR EQUAL |  |  | 0
164 |  |  | 2000 | FT | OCC FIBER OPTIC HYBRID CABLE 96 FIBER ARMORED PLENUM COATED (48 STRAND MULTI-MODE 50/125 & 48 STRAND SINGLEMODE 9/125) OCC PART# DX96-140K-48ALS-48SLX/900-OFCP-IAK OR EQUAL |  |  | 0
165 |  |  | 2000 | FT | FIBER OPTIC HYBRID CABLE 48 FIBER ARMORED PLENUM COATED (24 STRAND MULTI-MODE 50/125 & 24 STRAND SINGLEMODE 9/125) OCC PART # DX48-095K-24ALS-24SLX/900-OFCP-IAK OR CORNING PART # 048XWP-T41XXD20 OR EQUAL |  |  | 0
166 |  |  | 2000 | FT | FIBER OPTIC HYBRID CABLE 24 FIBER ARMORED PLENUM COATED (12 STRAND MULTI-MODE 50/125 & 12 STRAND SINGLEMODE 9/125) OCC PART # DX24-075K-12ALS-12SLX/900-OFCP-IAK OR CORNING PART # 024X8P-311XX-A3 OR EQUAL |  |  | 0
167 | 2000EA | 6 | 2000 | EA | SIECOR SC MM 62.5UM CONNECTORS, PART # 95-000-40 OR EQUAL |  |  | 0
168 | 1000EA | 6 | 1000 | EA | SIECOR ST MM 62.5UM CONNECTORS, PART # 95-000-50 OR EQUAL |  |  | 0
169 | 500EA | 5 | 500 | EA | SIECOR SC MM 50UM CONNECTORS, PART# 95-050-41 OR EQUAL |  |  | 0
170 | 500EA | 5 | 500 | EA | SIECOR ST MM 50UM CONNECTORS, PART# 95-050-51 OR EQUAL |  |  | 0
171 | 500EA | 5 | 500 | EA | SIECOR SC SM CONNECTORS, PART# 95-200-41 OR EQUAL |  |  | 0
172 | 500EA | 5 | 500 | EA | SIECOR ST SM CONNECTORS, PART# 95-200-51 OR EQUAL |  |  | 0
173 |  |  | 20 | EA | MULTILINK 1U RACKMOUNT FIBER ENCLOSURE MULTILINK PART# FRM-1RU-2X-SO OR EQUAL |  |  | 0
174 |  |  | 20 | EA | MULTILINK 2U RACKMOUNT FIBER ENCLOSURE MULTILINK PART# FRM-2RU-4X-SO OR EQUAL |  |  | 0
175 |  |  | 20 | EA | MULTILINK 3U RACKMOUNT FIBER ENCLOSURE MULTILINK PART# FRM-3RU-9X-TS OR EQUAL |  |  | 0
176 |  |  | 20 | EA | MULTILINK 6-PORT ST MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MST-06-P-BLK OR EQUAL |  |  | 0
177 |  |  | 20 | EA | MULTILINK 6-PORT SC MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MSC-06-MM-P-BLK OR EQUAL |  |  | 0
178 |  |  | 20 | EA | MULTILINK 8-PORT ST MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MST-08-P-BLK OR EQUAL |  |  | 0
179 |  |  | 20 | EA | MULTILINK 8-PORT SC MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MSC-08-MM-P-BLK OR EQUAL |  |  | 0
180 |  |  | 20 | EA | MULTILINK 12-PORT ST MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MST-12-P-BLK OR EQUAL |  |  | 0
181 |  |  | 20 | EA | MULTILINK 12-PORT SC MM/SM MODULE; FITS RACKMOUNT ENCLOSURES MULTILINK PART# MSC-12-MM-P-BLK OR EQUAL |  |  | 0
182 |  |  | 20 | EA | MULTILINK BLANK MODULE; FITS RACK MOUNT ENCLOSURES MULTILINK PART # MFMB-600BB-BLK OR EQUAL |  |  | 0
183 | 20EA | 4 | 20 | EA | LEVITON 1U RACKMOUNT FIBER ENCLOSURE LEVITON PART# 5R1UA-A03 OR EQUAL |  |  | 0
184 | 20EA | 4 | 20 | EA | LEVITON 2U RACKMOUNT FIBER ENCLOSURE LEVITON PART# 5R2UA-A06 OR EQUAL |  |  | 0
185 | 20EA | 4 | 20 | EA | LEVITON 3U RACKMOUNT FIBER ENCLOSURE LEVITON PART# 5R3UA-A12 OR EQUAL |  |  | 0
186 | 20EA | 4 | 20 | EA | LEVITON SMALL EMPTY FIBER WALL MOUNT ENCLOSURE ONLY 8"HIGH X 13"WIDE X 3.5"DEEP LEVITON PART# 5W110-00N OR EQUAL |  |  | 0
187 | 20EA | 4 | 20 | EA | LEVITON MEDIUM EMPTY FIBER WALL MOUNT ENCLOSURE ONLY 14"HIGH X 12"WIDE X 5.25" DEEP LEVITON PART# 5W310-00N OR EQUAL |  |  | 0
188 | 20EA | 4 | 20 | EA | LEVITON LARGE EMPTY FIBER WALL MOUNT ENCLOSURE ONLY 17" HIGH X 15" WIDE X 5.25" DEEP LEVITON PART# 5W710-00N OR EQUAL |  |  | 0
189 | 50EA | 4 | 50 | EA | LEVITON ST FIBER 6-PACK TO FIT EITHER WALL MOUNT OR RACKMOUNT ENCLOSURES ONLY LEVTION PART# 5F100-1ST OR EQUAL |  |  | 0
190 | 50EA | 4 | 50 | EA | LEVITON SC FIBER 6-PACK TO FIT EITHER WALL MOUNT OR RACKMOUNT ENCLOSURES ONLY LEVTION PART# 5F100-3SC OR EQUAL |  |  | 0
191 | 50EA | 4 | 50 | EA | LEVITON BLANK 6-PACK FOR FIBER ENCLOSURES LEVITON PART# 5F100-BPP OR EQUAL |  |  | 0
192 | 50EA | 4 | 50 | EA | LEVITON SC FIBER 8-PACK TO FIT EITHER WALL MOUNT OR RACKMOUNT ENCLOSURES LEVITON PART# 5F100-8SC OR EQUAL |  |  | 0
193 | 50EA | 4 | 50 | EA | LEVITON SC FIBER 12-PACK TO FIT EITHER WALL MOUNT OR RACKMOUNT ENCLOSURES LEVITON PART# 5F100-CSC OR EQUAL |  |  | 0
194 | 50EA | 4 | 50 | EA | SIECOR ST CONNECTOR PANEL, PART # WIC-CP1-25 OR EQUAL |  |  | 0
195 | 50EA | 4 | 50 | EA | SIECOR SC CONNECTOR PANEL, PART # WIC-CP1-56 OR EQUAL |  |  | 0
196 |  |  | 30 | EA | SIECOR WALL MOUNT FIBER ENCLOSURE, PART # WIC-012 OR EQUAL |  |  | 0
197 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER ST TO ST |  |  | 0
198 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER ST TO SC |  |  | 0
199 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER SC TO SC |  |  | 0
200 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER LC TO ST |  |  | 0
201 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER LC TO SC |  |  | 0
202 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER LC TO LC |  |  | 0
203 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER SC TO MTRJ |  |  | 0
204 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 1 METER LC TO MTRJ |  |  | 0
205 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER ST TO ST |  |  | 0
206 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER ST TO SC |  |  | 0
207 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER SC TO SC |  |  | 0
208 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER LC TO ST |  |  | 0
209 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER LC TO SC |  |  | 0
210 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER LC TO LC |  |  | 0
211 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER SC TO MTRJ |  |  | 0
212 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 2 METER LC TO MTRJ |  |  | 0
213 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER ST TO ST |  |  | 0
214 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER ST TO SC |  |  | 0
215 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER SC TO SC |  |  | 0
216 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER LC TO ST |  |  | 0
217 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER LC TO SC |  |  | 0
218 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER LC TO LC |  |  | 0
219 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER SC TO MTRJ |  |  | 0
220 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 62.5/125 3 METER LC TO MTRJ |  |  | 0
221 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER ST TO ST |  |  | 0
222 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER ST TO SC |  |  | 0
223 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER SC TO SC |  |  | 0
224 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER LC TO ST |  |  | 0
225 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER LC TO SC |  |  | 0
226 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER LC TO LC |  |  | 0
227 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER SC TO MTRJ |  |  | 0
228 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 1 METER LC TO MTRJ |  |  | 0
229 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER ST TO ST |  |  | 0
230 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER ST TO SC |  |  | 0
231 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER SC TO SC |  |  | 0
232 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER LC TO ST |  |  | 0
233 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER LC TO SC |  |  | 0
234 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER LC TO LC |  |  | 0
235 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER SC TO MTRJ |  |  | 0
236 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 2 METER LC TO MTRJ |  |  | 0
237 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER ST TO ST |  |  | 0
238 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER ST TO SC |  |  | 0
239 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER SC TO SC |  |  | 0
240 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER LC TO ST |  |  | 0
241 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER LC TO SC |  |  | 0
242 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER LC TO LC |  |  | 0
243 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER SC TO MTRJ |  |  | 0
244 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 50/125 3 METER LC TO MTRJ |  |  | 0
245 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER ST TO ST |  |  | 0
246 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER ST TO SC |  |  | 0
247 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER SC TO SC |  |  | 0
248 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER LC TO ST |  |  | 0
249 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER LC TO SC |  |  | 0
250 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER LC TO LC |  |  | 0
251 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER SC TO MTRJ |  |  | 0
252 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 1 METER LC TO MTRJ |  |  | 0
253 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER ST TO ST |  |  | 0
254 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER ST TO SC |  |  | 0
255 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER SC TO SC |  |  | 0
256 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER LC TO ST |  |  | 0
257 | 100EA | 5 | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER LC TO SC |  |  | 0
258 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER LC TO LC |  |  | 0
259 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER SC TO MTRJ |  |  | 0
260 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 2 METER LC TO MTRJ |  |  | 0
261 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER ST TO ST |  |  | 0
262 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER ST TO SC |  |  | 0
263 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER SC TO SC |  |  | 0
264 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER LC TO ST |  |  | 0
265 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER LC TO SC |  |  | 0
266 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER LC TO LC |  |  | 0
267 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER SC TO MTRJ |  |  | 0
268 |  |  | 100 | EA | DUPLEX FIBER OPTIC JUMPERS, 9/125 3 METER LC TO MTRJ |  |  | 0
269 |  |  | 20 | EA | ALLIED TELESYN ST TO RJ45 FEMALE FIBER MEDIA CONVERTER 10/100MEG PART# AT-FS201 OR EQUAL |  |  | 0
270 |  |  | 20 | EA | ALLIED TELESYN CENTRE COM MC13 UTP/FIBER ST 10MBPS MEDIA CONVERTER PART# ATMC13-10 OR EQUAL |  |  | 0
271 |  |  | 20 | EA | TRANSITION NETWORKS ETHERNET 10BASE-T TO 10BASE-FL STAND-ALONE MEDIA CONVERTER; TRANSITION NETWORKS PART# E-TBT-FRL-05 OR EQUAL |  |  | 0
272 |  |  | 20 | EA | TRANSITION NETWORKS FAST ETHERNET 100BASE-TX TO 100BASE-FX STAND-ALONE MEDIA CONVERTER; TRANSITION NETWORKS PART# E-100BTX-FX-05 OR EQUAL |  |  | 0
TOTAL COST OF ALL ITEMS | [6 empty] | $ | 0
CABLE12 Statewide Contract
TOTAL EVALUATED BID PRICE SHEET
|  |  |  | TOTAL COST OF ALL ITEMS |  | 0
INSIDE DELIVERY CHARGE
|  |  |  | TOTAL EVALUATED BID PRICE |  | 0
THERE WILL NOT BE A SPLIT AWARD FOR THIS CONTRACT.