## Sheet1
ISCM0053 BID COST SHEET
PART NUMBER | DESCRIPTION | UNIT | Quantity | UNIT PRICE | EXTENDED PRICE
EQUIPMENT DIVISION
AT 1603-xx | ALLEN TEL 3 FOOT All Colors CAT 6 PATCH CABLE | Each | 125 | 0 | 0
AT 1605-xx | ALLEN TEL 5 FOOT All Colors CAT 6 PATCH CABLE | Each | 200 | 0 | 0
AT 1607-xx | ALLEN TEL 7 FOOT All Colors CAT 6 PATCH CABLE | Each | 125 | 0 | 0
AT 1610-xx | ALLEN TEL 10 FOOT All Colors CAT 6 PATCH CABLE | Each | 300 | 0 | 0
X-30-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 250 | Cart | 6 | 0 | 0
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart | 2 | 0 | 0
XC-1000-580-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart | 1 | 0 | 0
XC-1000-580-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart | 1 | 0 | 0
XC-1000-580-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart | 1 | 0 | 0
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart | 6 | 0 | 0
CF54/100EZ | Cablofil - 2" x 4" cable tray | Feet | 1200 | 0 | 0
SF100PG | Cablofil - Hangers-Center Hung | Each | 300 | 0 | 0
SWKEZ | Cablofil - Splice Connectors | Each | 400 | 0 | 0
11791-725 | Chatsworth - 36" Wall Mount Rack | Each | 1 | 0 | 0
12419-748 | Chatsworth - 48" Cabinet | Each | 1 | 0 | 0
124800-701 | Chatsworth - Fan Top | Each | 1 | 0 | 0
M1050-732 | Chatsworth - 84" Cabinet | Each | 1 | 0 | 0
57014-703 | Chatsworth Velocity Standard Pack | Pack | 4 | 0 | 0
10250-718 | Chatsworth Ladder Tray 18" Section 10' | Each | 6 | 0 | 0
12730-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each | 6 | 0 | 0
11746-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each | 6 | 0 | 0
13912-703 | Chatsworth Vertical Wire Manager | Each | 3 | 0 | 0
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each | 6 | 0 | 0
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each | 6 | 0 | 0
RWS | GEIST - Remote Water Sensor | Each | 6 | 0 | 0
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each | 1 | 0 | 0
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each | 6 | 0 | 0
RGBHKIT14119.25 | HAGER RACK GROUND BAR KIT_HORIZONTAL | Each | 6 | 0 | 0
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each | 6 | 0 | 0
EZDP44S | STI 44+Single Pathway Kit Includes Pathway, Two (2) Mounting Plates And Labels | Each | 6 | 0 | 0
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each | 6 | 0 | 0
107058891 | Systimax 110AW2-100 100PR Block 110 w/Legs Cat6 | Each | 6 | 0 | 0
107535585 | Systimax 110RD2-200-19, 110 BLOCK RACK MOUNT BRACKET | Each | 6 | 0 | 0
760111187 | Systimax iPatch System Manager Enterprise 2,000 | Each | 1 | 0 | 0
760095562 | Systimax 360 iPatch Panel Manager | Each | 6 | 0 | 0
760105353 | Systimax 360 iPatch Network Manager Module | Each | 6 | 0 | 0
760105171 | Systimax 360 iPatch® G2 LC Fiber Shelf, sliding | Each | 6 | 0 | 0
760039867 | Systimax RS-2AF-16SF RoloSplice Kit E/W 2x Fusion Splice Tray 1U Shelf | Each | 7 | 0 | 0
FDXLCLC42-MXF003 | Systimax 3 FOOT - LC/LC Jumper Cable - MM | Each | 8 | 0 | 0
FDXLCLC42-MXF007 | Systimax 7 FOOT - LC/LC Jumper Cable - MM | Each | 8 | 0 | 0
760152330 | Systimax iPatch 1100GS3 Evolve U/UTP Patch Panel, 48 port | Each | 3 | 0 | 0
760152355 | Systimax iPatch 1100GS3 Evolve U/UTP Patch Panel, 24 port | Each | 4 | 0 | 0
760072942 | Systimax 1U SS Horizontal Trough Kit | Each | 4 | 0 | 0
760072959 | Systimax 2U SS Horizontal Trough Kit | Each | 4 | 0 | 0
760008888 | Systimax GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black | Box | 4 | 0 | 0
760004689 | Systimax 71E Series GigaSPEED XL Category 6 U/UTP non- plenum Cable, Blue | Box | 55 | 0 | 0
700210123 | Systimax 71E Series GigaSPEED XL Category 6 U/UTP plenum Cable, Blue | Box | 15 | 0 | 0
700206758 | Systimax GigaSPEED XL MGS400 Series Category 6 U/UTP Information Outlet, blue | Each | 350 | 0 | 0
760103796 | Systimax M61A-123 Yellow ICON - 100 \ bag | Bag | 4 | 0 | 0
107952442 | Systimax M104 Type Surface Mount Box, four port ivory | Each | 300 | 0 | 0
108216151 | Systimax Faceplate 4-Hole w/blanks_Modular Furniture | Each | 50 | 0 | 0
103801247 | Systimax C-4 CONNECTING BLOCK 10/ Bag | Bag | 8 | 0 | 0
103801254 | Systimax C-5 CONNECTING BLOCK 10/ Bag | Bag | 3 | 0 | 0
106824329 | Systimax 1010B Category 3 25 Pair Non-Plenum White | Feet | 1000 | 0 | 0
760146498 | Systimax 24 Strand Fiber I/O TB Composite (12 SM / 12 MM OM4) | Feet | 3500 | 0 | 0
FAXLCUC01-MXM002 | Systimax LC Fiber Pigtail OM4 Simplex 2 Meter | Each | 120 | 0 | 0
|  | Equipment Division- Materials Price |  |  | 0
Equipment Division- Installation Price
|  | Subtotal - Equipment Division Price |  |  | 0
MATERIALS DIVISION
AT 1603-xx | ALLEN TEL 3 FOOT All Colors CAT 6 PATCH CABLE | Each | 130 | 0 | 0
AT 1605-xx | ALLEN TEL 5 FOOT All Colors CAT 6 PATCH CABLE | Each | 250 | 0 | 0
AT 1607-xx | ALLEN TEL 7 FOOT All Colors CAT 6 PATCH CABLE | Each | 130 | 0 | 0
AT 1610-xx | ALLEN TEL 10 FOOT All Colors CAT 6 PATCH CABLE | Each | 300 | 0 | 0
X-29-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 450 | Cart | 8 | 0 | 0
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart | 2 | 0 | 0
XC-1000-580-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart | 1 | 0 | 0
XC-1000-580-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart | 1 | 0 | 0
XC-1000-580-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart | 1 | 0 | 0
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart | 8 | 0 | 0
CF54/100EZ | Cablofil - 2" x 4" cable tray | Feet | 800 | 0 | 0
SF100PG | Cablofil - Hangers-Center Hung | Each | 200 | 0 | 0
SWKEZ | Cablofil - Splice Connectors | Each | 350 | 0 | 0
12419-736 | Chatsworth - 36" Wall Mount Cabinet | Each | 1 | 0 | 0
57014-703 | Chatsworth Velocity Standard Pack | Pack | 4 | 0 | 0
10250-718 | Chatsworth Ladder Tray 18" Section 10' | Each | 3 | 0 | 0
12730-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each | 4 | 0 | 0
11746-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each | 4 | 0 | 0
13912-703 | Chatsworth Vertical Wire Manager | Each | 4 | 0 | 0
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each | 6 | 0 | 0
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each | 6 | 0 | 0
RWS | GEIST - Remote Water Sensor | Each | 7 | 0 | 0
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each | 3 | 0 | 0
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each | 1 | 0 | 0
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each | 6 | 0 | 0
EZDP44S | STI 44+Single Pathway Kit Includes Pathway, Two (2) Mounting Plates And Labels | Each | 10 | 0 | 0
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each | 10 | 0 | 0
107058891 | Systimax 110AW2-100 100PR Block 110 w/Legs Cat6 | Each | 4 | 0 | 0
107535585 | Systimax 110RD2-200-19, 110 BLOCK RACK MOUNT BRACKET | Each | 4 | 0 | 0
760111187 | Systimax iPatch System Manager Enterprise 2,000 | Each | 1 | 0 | 0
760095562 | Systimax 360 iPatch Panel Manager | Each | 4 | 0 | 0
760105353 | Systimax 360 iPatch Network Manager Module | Each | 4 | 0 | 0
760105171 | Systimax 360 iPatch® G2 LC Fiber Shelf, sliding | Each | 4 | 0 | 0
760039867 | Systimax RS-2AF-16SF RoloSplice Kit E/W 2x Fusion Splice Tray 1U Shelf | Each | 4 | 0 | 0
FDXLCLC42-MXF003 | Systimax 3 FOOT - LC/LC Jumper Cable - MM | Each | 8 | 0 | 0
FDXLCLC42-MXF007 | Systimax 7 FOOT - LC/LC Jumper Cable - MM | Each | 8 | 0 | 0
760152330 | Systimax iPatch 1100GS3 Evolve U/UTP Patch Panel, 48 port | Each | 3 | 0 | 0
760152355 | Systimax iPatch 1100GS3 Evolve U/UTP Patch Panel, 24 port | Each | 4 | 0 | 0
760072942 | Systimax 1U SS Horizontal Trough Kit | Each | 6 | 0 | 0
760072959 | Systimax 2U SS Horizontal Trough Kit | Each | 11 | 0 | 0
760008888 | Systimax GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black | Box | 4 | 0 | 0
700208093 | Systimax 71E Series GigaSPEED XL Category 6 U/UTP plenum Cable, Blue | Box | 75 | 0 | 0
700206758 | Systimax GigaSPEED XL MGS400 Series Category 6 U/UTP Information Outlet, blue | Each | 375 | 0 | 0
760103796 | Systimax M61A-123 Yellow ICON - 100 \ bag | Bag | 4 | 0 | 0
107952442 | Systimax M104 Type Surface Mount Box, four port ivory | Each | 300 | 0 | 0
108216151 | Systimax Faceplate 4-Hole w/blanks_Modular Furniture | Each | 100 | 0 | 0
103801247 | Systimax C-4 CONNECTING BLOCK 10/ Bag | Bag | 8 | 0 | 0
103801254 | Systimax C-5 CONNECTING BLOCK 10/ Bag | Bag | 3 | 0 | 0
106824329 | Systimax 1010B Category 3 25 Pair Non-Plenum White | Feet | 1000 | 0 | 0
760146498 | Systimax 24 Strand Fiber I/O TB Composite (12 SM / 12 MM OM4) | Feet | 2250 | 0 | 0
FAXLCUC01-MXM002 | Systimax LC Fiber Pigtail OM4 Simplex 2 Meter | Each | 72 | 0 | 0
|  | Materials Division- Material Price |  |  | 0
Materials Division-Installation Price
|  | Subtotal- Materials Cost |  |  | 0
|  | Total Cost |  |  | 0