## Sheet1
RFQ DOT District 1 HQ and SRC Bldg.
BID PRICE SHEET
PART NUMBER | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED PRICE
WV State Department of Transportation - District 1 HQ and SRC Bldg. Charleston, WV
X-30-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 250 | Cart | 3
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart | 1
XC-1000-595-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart | 1
XC-1000-595-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart | 1
XC-1000-595-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart | 1
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart | 8
57014-703 | Chatsworth Velocity Standard Pack | Pack | 4
10250-718 | Chatsworth Ladder Tray 18" Section 10' | Feet | 6
10595-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each | 4
11421-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each | 6
13912-703 | Chatsworth Vertical Wire Manager | Each | 2
760111187 | CommScope iPatch System Manager Enterprise 2000 | Each | 1
760161380 | CommScope 360 IMVISION Controller | Each | 2
CPCSSX2-0ZF005 | CommScope 360GS10E MODULAR PATCH CORD 5FT DK BL | Each | 500
CPCSSX2-0ZF007 | CommScope 360GS10E MODULAR PATCH CORD 7FT DK BL | Each | 250
CPCSSX2-0ZF010 | CommScope 360GS10E MODULAR PATCH CORD 10FT DK BL | Each | 250
760092452 | CommScope GigaSPEED XL MGS600 Series Cat 6A U/UTP Info Outlet, 318-blue | Each | 500
760152348 | CommScope iPatch 1100GS6 Evolve U/UTP Patch Panel, 48 port | Each | 10
760152363 | CommScope iPatch 1100GS6 Evolve U/UTP Patch Panel, 24 port | Each | 2
107952442 | CommScope M104 Type Surface Mount Box, four port ivory | Each | 300
108216151 | CommScope Faceplate 4-Hole w/blanks_Modular Furniture | Each | 200
876540410 | CommScope 10G4 ETL Verified Category 6A U/UTP Cable Plenum | Each | 100
760008888 | CommScope GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black | Feet | 20
P-024-OD-CM-FSUBK/8W012/5K012 | CommScope 24 Strand Fiber I/O Plenum TB Composite (12 SM / 12 MM OM4) | Feet | 1640
760103085 | CommScope 360G2-1U-MOD-SD 1U Fiber Shelf, sliding | Each | 2
760109470 | CommScope 360G2 Catridge 12 LC LazrSPEED, Aqua w/Pigtails, iPatch Ready | Each | 2
760109496 | CommScope 360G2 Catridge 12 LC TeraSPEED, Blue w/Pigtails, iPatch Ready | Each | 2
760105148 | CommScope iPatch Upgrade Kit for 360G2-1U-MOD Shelves | Each | 1
760039867 | CommScope RS-2AF-16SF RoloSplice Kit E/W 2x Fusion Splice Tray 1U Shelf | Each | 4
FDXLCLC42-MXF003 | CommScope 3 FOOT - LC/LC Jumper Cable - MM | Each | 12
FDXLCLC42-MXF007 | CommScope 7 FOOT - LC/LC Jumper Cable - MM | Each | 12
760072942 | CommScope 1U SS Horizontal Trough Kit | Each | 6
760072959 | CommScope 2U SS Horizontal Trough Kit | Each | 20
760103796 | CommScope M61A-318 BLUE ICON - 100 \ bag | Each | 5
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each | 2
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each | 2
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each | 1
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each | 1
RGBHKIT14119.25 | HAGER 1/4" X 1" X 19" RACK MOUNT GROUND BAR KIT | Each | 4
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each | 2
EZDP44S | STI 44+Single Pathway Kit w/ 1 Pathway, Two (2) Mount Plates And Labels | Each | 6
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each | 6
SU16000RT4U | TRIPP-LITE SMARTONLINE 16 KVA HOT-SWAPPABLE UPS | Each | 2
SNMPWEBCARD | TRIPP-LITE INT SNMP/WEB UPS ADAPTER | Each | 2
PDUMV30HV | TRIPP-LITE 30A VERT MTRD PDU W/L6-30P | Each | 2
P036-006 | TRIPP-LITE 6FT AC POWER SPLITTER CABLE | Each | 8
SR4POST | TRIPP-LITE 45U 4-POST SMARTRACK OPEN FRAME RACK | Each | 2
W02-BW2-1BD | TRIPP-LITE Factory Start-Up | Each | 2
| Materials Price |  |  |  | 0
Installation Price
| WV State Department of Administration |  | Total Bid Price |  | 0
District 1 HQ and SRC Bldg. Charleston, WV
Quoted price per hour for lobor outside of original Purchase order. Used for award purpose only. |  | Hour | 40 |  | 0