## Sheet1
RFQ 631400033
BID PRICE SHEET
PART NUMBER | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED PRICE
WV State Department of Transportation District 4 HQ with Cty HQ's and Substations and District 5 Cty HQ's and Substations
X-30-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 250 | Cart | 20 |  | 0
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart | 20 |  | 0
XC-1000-595-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart | 5 |  | 0
XC-1000-595-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart | 4 |  | 0
XC-1000-595-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart | 2 |  | 0
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart | 10 |  | 0
CF54/300EZ | Cablofil - 2" x 12" cable tray - 10' Section | Each | 75 |  | 0
FASPCH300PG | Cablofil - Hangers-Center Hung | Each | 150 |  | 0
SWKEZ | Cablofil - Splice Connectors Pack of 50 | Each | 6 |  | 0
12419-736 | Chatsworth - 36" Wall Mount Cabinet | Each | 14 |  | 0
12804-701 | Chatsworth - Fan Kit, 115 VAC, 100 CFM | Each | 14 |  | 0
57014-703 | Chatsworth Velocity Standard Pack | Pack | 4 |  | 0
11521-704 | Chatsworth Wall Mount Bracket 2RU | Each | 16 |  | 0
40074-700 | Chatsworth Shelf 3RU | Each | 16 |  | 0
10250-718 | Chatsworth Ladder Tray 18" Section 10' | Each | 5 |  | 0
10595-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each | 5 |  | 0
11421-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each | 10 |  | 0
13912-703 | Chatsworth Vertical Wire Manager | Each | 3 |  | 0
CPCSSX2-0ZF005 | CommScope 360GS10E MODULAR PATCH CORD 5FT DK BL | Each | 500 |  | 0
CPCSSX2-0ZF007 | CommScope 360GS10E MODULAR PATCH CORD 7FT DK BL | Each | 250 |  | 0
CPCSSX2-0ZF010 | CommScope 360GS10E MODULAR PATCH CORD 10FT DK BL | Each | 250 |  | 0
760111187 | CommScope iPatch System Manager Enterprise 2000 | Each | 1 |  | 0
760161380 | CommScope 360 IMVISION Controller | Each | 6 |  | 0
760092452 | CommScope GigaSPEED XL MGS600 Series Cat 6A U/UTP Info Outlet, 318-blue | Each | 550 |  | 0
760152348 | CommScope iPatch 1100GS6 Evolve U/UTP Patch Panel, 48 port | Each | 15 |  | 0
760152363 | CommScope iPatch 1100GS6 Evolve U/UTP Patch Panel, 24 port | Each | 5 |  | 0
UC1BBB2-0ZF005 | CommScope Uniprise UNC-BL-3FT Modulare Patch Cable 5FT Blue | Each | 500 |  | 0
UC1BBB2-0ZF007 | CommScope Uniprise UNC-BL-3FT Modulare Patch Cable 7FT Blue | Each | 250 |  | 0
UC1BBB2-0ZF010 | CommScope Uniprise UNC-BL-3FT Modulare Patch Cable 10FT Blue | Each | 250 |  | 0
UNJ600-BL | CommScope Uniprise Cat6 Info Outlet, Blue | Each | 900 |  | 0
UNP610-48P | CommScope Uniprise Cat6 Patch Panel, 48 Port | Each | 15 |  | 0
UNP610-24P | CommScope Uniprise Cat6 Patch Panel, 24 Port | Each | 20 |  | 0
107952442 | CommScope M104 Type Surface Mount Box, four port ivory | Each | 600 |  | 0
108216151 | CommScope Faceplate 4-Hole w/blanks_Modular Furniture | Each | 200 |  | 0
760107201 | CommScope GIGASPEED X10D 2091B Category 6A U/UTP Cable, Plenum 1000ft | Each | 100 |  | 0
4763214/10 | CommScope Uniprise 7504 Category 6 U/UTP Cable, Plenum, 1000ft | Each | 169 |  | 0
760008888 | CommScope GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black 1000ft | Each | 5 |  | 0
760134924 | CommScope 12 Strand Fiber Singlemode I/O Interlocking Armor Plenum (12 SM) | Feet | 4800 |  | 0
760109496 | CommScope 360G2 Cartridge 12 LC TeraSPEED, Blue w/Pigtails | Each | 3 |  | 0
760105148 | CommScope 360 iPatch Upgrade Kit for 306G2-1U-MOD | Each | 1 |  | 0
760103085 | CommScope 360 iPatch® G2 LC Fiber Shelf, sliding | Each | 3 |  | 0
760039867 | CommScope RS-2AF-16SF RoloSplice Kit E/W 2x Fusion Splice Tray 1U Shelf | Each | 3 |  | 0
FDXLCLC42-MXF003 | CommScope 3 FOOT - LC/LC Jumper Cable - SM | Each | 12 |  | 0
FDXLCLC42-MXF007 | CommScope 7 FOOT - LC/LC Jumper Cable - SM | Each | 12 |  | 0
760072942 | CommScope 1U SS Horizontal Trough Kit | Each | 5 |  | 0
760072959 | CommScope 2U SS Horizontal Trough Kit | Each | 20 |  | 0
760103796 | CommScope M61A-318 BLUE ICON - 100 \ bag | Each | 13 |  | 0
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each | 5 |  | 0
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each | 5 |  | 0
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each | 5 |  | 0
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each | 12 |  | 0
RGBHKIT14119.25 | HAGER 1/4" X 1" X 19" RACK MOUNT KIT | Each | 17 |  | 0
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each | 17 |  | 0
EZDP44S | STI 44+Single Pathway Kit w/ 1 Pathway, Two (2) Mount Plates And Labels | Each | 10 |  | 0
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each | 5 |  | 0
2900 | Wiremold One Piece Latching Raceway 6ft Length | Feet | 1500 |  | 0
2911 | Wiremold Flat Elbow for 2900 Raceway | Each | 100 |  | 0
2906 | Wiremold Cover Clip for 2900 Raceway | Each | 100 |  | 0
2986 | Wiremold Drop Ceiling Fitting for 2900 Raceway | Each | 100 |  | 0
40N2B08V | Wiremold Two Compartment Raceway Base | Each | 520 |  | 0
40N2C08V | Wiremold Two Compartment Raceway Cover | Each | 520 |  | 0
40N2F05V | Wiremold Cover Clip for 40N2B08V Base | Each | 50 |  | 0
40N2F06V | Wiremold Cover Clip for 40N2C08V Cover | Each | 50 |  | 0
40N2F21V | Wiremold Entrance Fitting For 40N2B08V Base | Each | 50 |  | 0
40N2F11V | Wiremold Flat Elbow for 40N2B08V Raceway | Each | 50 |  | 0
40N2F17V | Wiremold Internal Elbow for 40N2B08V Raceway | Each | 50 |  | 0
40N2F19V | Wiremold External Elbow for 40N2B08V Raceway | Each | 50 |  | 0
40N2F20V | Wiremold Blank End Fitting for 40N2B08V Raceway | Each | 50 |  | 0
0
SU1000RTXL2UA | SmartOnline 1kVA Dble-Conversion UPS, Rack/Tower, 100/110/120V NEMA outlets | Each | 35 |  | 0
SNMPWEBCARD | For remote monitoring and control via SNMP, Web or Telnet | Each | 35 |  | 0
BP24V15RT2U | External Battery Pack for UPS System | Each | 5 |  | 0
BP24V70-3U | External Battery Pack for UPS System | Each | 6 |  | 0
2-9USTAND | Convert- UPS + BP- Rackmount to a Tower Mount | Each | 25 |  | 0
|  | Materials Price |  |  | 0
|  | Installation Price |  |  | 0
| District 4 HQ, Cty HQ's, Substations, DMV Regional Offices and District 5 Cty HQ's and Substations |  | Total Bid Price |  | 0
Quoted price per hour for lobor outside of original Purchase order. Used for award purpose only. |  | Hour | 40 |  | 0