## Sheet1
WV SCHOOLS FOR THE DEAF AND THE BLIND PRICING PAGES FOR DBSM142100
CAMPUS WIDE CARD ACCESS SECURITY MANAGEMENT SYSTEM
ITEM NUMBER | QUANTITY |  | DESCRIPTION | UNIT PRICE | EXTENDED PRICE
1 |  |  | ITEM 1 COMPONENTS: HEAD-END SOFTWARE HARDWARE (to include mark up on labor, installation,materials, equipments, programming, in-service, check-out, training & anything incidental)
1A | 1 |  | UTC/LENEL/GE SECURITY FCWnx v7 Pro single server software license package
(1) server client, (1) remote client, (16) readers w/GE Micro driver or equivalent
1B | 1 |  | Dell Precision R5500 Rack Mount Workstation, Dual Quad Core Intel Xeon
Processor E5603, 1.6Ghz, 4M L3, 4.8GT/S, 4Gb RAM, 2 X 250Gb Raid 1 Sata HD,
1.0GB Nvidia Quadro 600, Dual Monitor, 1 DP & 1 DVI, 8X Slimline DVD +/-RW,
Gigabit NIC Card, Windows 7 Professional OS or equivalent
1C | 1 |  | Dell 15FP 1U Rack Console w/Versarail, 15" TFT LCD, 83 key mini-kybd US or
equivalent
1D | 1 |  | Dell Optiplex 390 Small Form Workstation, Intel® CoreTM 13 2120 Processor (3.3
Ghz, 3M) 4GB RAM, 250GB SATA HD, Dual Monitor Support (2 DVI), 8X Slimline
DVD +/-RW, Giga NIC, Windows 7 Pro 32BIt, VGA/DVI, 3-Year On-site Next
Business Day warranty or equivalent product/warranty
1E | 1 |  | 19" DVI/RGB Flat Panel
1F | 1 |  | GE Keyboard Wedge Reader, GE Proximity Desktop Credntial Reader (USB
Connection) or equivalent product
1G | 3 |  | UTC/Lenel/Ge Security Entrée Proximity Card (500) w/Tab Run Data File on CD
or equivalent product
1H | 1 |  | Avigilon ACC Gateway connetion license for a single NVR or equivalent product
1I | 1 |  | Avigilon HD NVR Workstation, 6.0 TB Storage or equivalent product
1J | 1 |  | LG Monitor, 22", LED, 1366 X 768 or equivalent product
1K | 1 |  | Cyber Power Systems UPS c/w Rack Mount Kit; configured for above equipment
or equivalent product
1L | 1 |  | UTC/Lenel/GE Security 24-Port 10/100+2 GIgE TP/SFP Full PoE Managed Switch
or equivalent product
1M | 1 |  | Middle Atlantic Environmental Equipment Rack configured for the above
equipment or equivalent product
1N | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 1 : (1A THROUGH 1N) |  |  |  |  | 0
2 |  |  | ITEM 2: ID BADGE IMAGING SYSTEM (to include mark up on labor, installation,materials, programming, in-service, check-out, training & anything incidental)
2A | 1 |  | UTC/Lenel/GE Security FCWnx Integrated Photo ID Credentialing Option per
Client or equivalent product
2B | 1 |  | Dell Optiplex 390 Small Form Workstation, Intel® CoreTM 13 2120 Processor (3.3
Ghz, 3M) 4GB RAM, 250GB SATA HD, Dual Monitor Support (2 DVI), 8X Slimline
DVD +/-RW, Giga NIC, Windows 7 Pro 32BIt, VGA/DVI, 3-Year On-site Next
Business Day warranty or equivalent product/warranty
2C | 1 |  | 19" DVI/RGB Flat Panel
2D | 1 |  | Videology Image Capture Camera System; Camera, stand; power supply & USB
cable or equivalent product
2E | 1 |  | Fargo DTC 4500 single-sided base model USB and Ethernet printer
or equivalent product
2F | 1 |  | Backdrop stand sturdy or equivalent product
2G | 3 |  | Fargo YMCKO Full-color ribbon w/ resin black and clear overlay panel--500
images or equivalent product
2H | 15 |  | Thin white PVC card with adhesive back, .024" thick, 100/lot
2I | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 2: (2A THROUGH 2I) |  |  |  |  | 0
3 |  |  | ITEM 3: ELEMENTARY SCHOOL FOR THE FOR THE DEAF CONTROLLED DOOR ACCESS SYSTEM (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
3A | 1 |  | UTC/Lenel/Ge Security M2000 PXNplus, FC Wnx 7.6 or higher, licensed for ACU
Feature Support, Serial & 10/100 Mb Ethernet, Dual NIC, 110 VAC, w/ standard
M2000 enclosure or equivalent product
3B | 3 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
3C | 4 |  | UTC/Lenel/Ge Secruity Surface Mount Magnetic Contact w/ Wire Leads,
Closed Loop or eqivalent product
3D | 4 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
3E | 1 |  | Single door wireless doorbell system
3F | 1 |  | Securitron Surface Mount remote Release button or equivalent product
3G | 1 |  | Securitron U. L. Listed, Power Supply with battery back-up for door hardware
or equivalent product
3H | 2 |  | HES Electric strike RIM surface mount panic hardware, 3/4" clearance or
equivalent product
3I | 1 | PAIR | Corbin Russwin Surface Mount Vertical Rod Panic exit device: c/w (1) electronic
latch retraction, controller & power supply, brass finish or equivalent product
which includes all of the listed items
3J | 1 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
3K | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers or equivalent
product
3L | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
3M | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
3N | 1 |  | LCD 15" monitor, 1025 X 768, BNC, VGA, S-video
3O | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
3P | 1 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
3Q | 1 |  | U. L. Listed Plenum Rated CARD READER POWER Cable / 1000'
3R | 2 |  | U. L. Listed ADA compliant handicap electric door operator with (2) push buttons
3S | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 3: (3A THROUGH 3S) |  |  |  |  | 0
4 |  |  | ITEM 4: SECONDARY SCHOOL FOR THE DEAF CONTROLLED DOOR ACCESS SYSTEM (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
4A | 1 |  | UTC/Lenel/GE Security GE Security (2) Reader Capacity MicroController; DD1FC
or equivalent product
4B | 2 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
4C | 4 |  | UTC/Lenel/GE Security Surface Mount Magnetic Contact w/Wire Leads, Closed
Loop or equivalent product
4D | 2 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
4E | 1 |  | Single door wireless doorbell system
4F | 1 |  | Securitron Surface Mount remote Release button or equivalent product
4G | 1 |  | Securitron U. L. Listed, Power Supply with battery back-up for door hardware
or equivalent product
4H | 1 |  | HES Electric strike RIM surface mount panic hardware, 3/4" clearance or
equivalent product
4I | 1 | pair | Von Duprin Surface Mount Vertical Rod Panic Exit Device; c/w (1) electronic
latch retraction, controller & power supply, US26D finish or equivalent product
4J | 1 |  | U. L. Listed ADA compliant handicap electric door operator with (2) push buttons
4K | 1 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
4L | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers
or equivalent product
4M | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
4N | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
4O | 1 |  | LCD 15" monitor, 1025 X 768, BNC, VGA, S-video
4P | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
4Q | 0.5 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
4R | 0.5 |  | U. L. Listed Plenum Rated CARD READE POWER Cable/ 1000'
4S | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 4: (4A THROUGH 4S) |  |  |  |  | 0
5 |  |  | ITEM 5: PHYSICAL EDUCATION BUILDING CONTROLLED DOOR ACCESS SYSTEM (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
5A | 1 |  | UTC/Lenel/GE Security GE Security (2) Reader Capacity MicroController; DD1FC
or equivalent product
5B | 1 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
5C | 2 |  | UTC/Lenel/GE Security Surface Mount Magnetic Contact w/ Wire Leads, Closed
Loop or equivalent product
5D | 1 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
5E | 1 |  | Securitron U. L. Listed, Power Supply with battery back-up for door hardware
or equivalent product
5F | 1 |  | HES Electric strike RIM surface mount panic hardware, 3/4" clearance or
equivalent product
5G | 1 |  | U. L. Listed ADA compliant handicap electric door operator with (2) push buttons
5H | 1 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
5I | 1 |  | Avigilon 2.0 Megapixal (1080p) WDR Day/Night 20x, Pendant Dome or
equivalent product
5J | 1 |  | Avigilon Compact wall bracket for use with H3PTZ-DPPendant dome cameras
or equivalent product
5K | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers or equivalent
product
5L | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
5M | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
5N | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
5O | 0.25 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
5P | 0.25 |  | U. L. Listed Plenum Rated CARD READER POWER Cable / 1000'
5Q | 1 |  | U. L. Listed Plenum Rated Siamese Video/Power CCTV Cable
5R | 1 |  | U. L. Listed Plenum Rated Cat 6 Data Comm Cable
5S | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 5: (5A THROUGH 5S) |  |  |  |  | 0
6 |  |  | ITEM 6: SCHOOL FOR THE BLIND DORMITORIES CONTROLLED DOOR ACCESS SYSTEM (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
6A | 1 |  | UTC/Lenel/GE Security GE Security (2) Reader Capacity MicroController; DD1FC
or equivalent product
6B | 1 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
6C | 2 |  | UTC/Lenel/GE Security Surface Mount Magnetic Contact w/Wire Leads, Closed
Loop or equivalent product
6D | 1 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
6E | 1 |  | Securitron U. L. Listed, Power Supply with battery back-up for door hardware
or equivalent product
6F | 1 | pair | Von Duprin Concealed Vertical Rod Panic Exit Device; c/w (1) Electronic Latch
Retraction, Controller & Power Supply, US28 Finish or equivalent product
6G | 1 |  | U. L. Listed ADA compliant handicap electric door operator with (2) push buttons
6H | 1 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
6I | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers
or equivalent product
6J | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
6K | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
6L | 1 |  | LCD 15" monitor, 1025 X 768, BNC, VGA, S-video
6M | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
6N | 0.25 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
6O | 0.25 |  | U. L. Listed Plenum Rated CARD READE POWER Cable/ 1000'
6P | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 6: (6A THROUGH 6P) |  |  |  |  | 0
7 |  |  | ITEM 7: SCHOOL FOR THE BLIND CONTROLLED DOOR ACCESS SYSTEM (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
7A | 1 |  | UTC/Lenel/GE Security GE Security (2) Reader Capacity MicroController; DD1FC
or equivalent product
7B | 1 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
7C | 2 |  | UTC/Lenel/GE Security Surface Mount Magnetic Contact w/Wire Leads, Closed
Loop or equivalent product
7D | 1 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
7E | 1 |  | Single door wireless doorbell system
7F | 1 |  | Securitron Surface Mount remote Release button or equivalent product
7G | 2 | pair | Von Duprin Surface Mount Vertical Rod Panic Exit Device; c/w (1) electronic
latch retraction, controller & power supply, US26D finish or equivalent product
7H | 1 |  | U. L. Listed ADA compliant handicap electric door operator with (2) push buttons
7I | 1 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
7J | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers
or equivalent product
7K | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
7L | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
7M | 1 |  | LCD 15" monitor, 1025 X 768, BNC, VGA, S-video
7N | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
7O | 0.5 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
7P | 0.5 |  | U. L. Listed Plenum Rated CARD READE POWER Cable/ 1000'
7R | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 7: (7A THROUGH 7R) |  |  |  |  | 0
8 |  |  | ITEM 8: Seaton Hall Controlled Door Access System (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
8A | 1 |  | UTC/Lenel/Ge Security M2000 PXNplus, FC Wnx 7.6 or higher, licensed for ACU
Feature Support, Serial & 10/100 Mb Ethernet, Dual NIC, 110 VAC, w/ standard
M2000 enclosure or equivalent product
8B | 3 |  | UTC/Lenel/GE Security Model T-520SW Reader Kit, Black, Mullion Mount, M/RJ
Box or equivalent product
8C | 6 |  | UTC/Lenel/GE Security Surface Mount Magnetic Contact w/Wire Leads, Closed
Loop or equivalent product
8D | 3 |  | UTC/Lenel/GE Security Request to Exit Dual Tech Sensor, Black or equivalent
product
8E | 2 |  | Single door wireless doorbell system
8F | 2 |  | Securitron Surface Mount remote Release button or equivalent product
8G | 1 |  | Securitron U. L. Listed, Power Supply with battery back-up for door hardware
or equivalent product
8H | 1 |  | HES Electric strike RIM surface mount panic hardware, 3/4" clearance or
equivalent product
8I | 1 |  | RCI All Purpose Electric Strike or equivalent product
8J | 1 | pair | Corbin Russwin Surface Mount Vertical Rod Panic exit device: c/w (1) electronic
latch retraction, controller & power supply, brass finish or equivalent product
8K | 1 |  | U.L. listed ADA compliant handicap electric door operator with (2) push buttons
8L | 2 |  | GE TruVision IR INT Dome camera; 650 TVL, color, 3.3-12 mm VF lens, 82' IR range
or equivalent product
8M | 1 |  | Altronix (4) Camera U. L. Listed Power Supply, (4) circuit breakers
or equivalent product
8N | 1 |  | Avigilon 4-port H.264 Analog Video Encoder with 4 audio support or equivalent
product
8O | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
8P | 2 |  | LCD 15" monitor, 1025 X 768, BNC, VGA, S-video
8Q | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
8R | 0.5 |  | U. L. Listed Plenum Rated CARD READER shielded Comm DATA cable per 1000'
8S | 0.5 |  | U. L. Listed Plenum Rated CARD READE POWER Cable/ 1000'
8T | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 8: (8A THROUGH 8T) |  |  |  |  | 0
9 |  |  | ITEM 9: Shipping and Receiving Camera (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
9A | 1 |  | Avigilon 2.0 Megapixal (1080p) WDR Day/Night 20x, Pendant Dome or
equivalent product
9B | 1 |  | Avigilon Compact wall bracket for use with H3PTZ-DPPendant dome cameras
or equivalent product
9C | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
9D | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
9E | 1 |  | Middle Atlantic Environmental Enclosure for Switch
or equivalent product
9F | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 9: (9A THROUGH 9F) |  |  |  |  | 0
10 |  |  | ITEM 10: Freight Storage, Parking Lot Camera (to include mark up on labor, installation, materials, programming, in-service, check-out, training & anything incidental)
10A | 1 |  | Avigilon 2.0 Megapixal (1080p) WDR Day/Night 20x, Pendant Dome or
equivalent product
10B | 1 |  | Avigilon Compact wall bracket for use with H3PTZ-DPPendant dome cameras
or equivalent product
10C | 1 |  | Avigilon ACC 4 Enterprise HD NVMS for 1 camera channels and unlimted viewing
clients or equivalent product
10D | 1 |  | UTC/Lenel/GE Security 8-Port 10/100+2 GigE TP/SFP Full PoE Managed Switch
or equivalent product
10E | 1 |  | Middle Atlantic Environmental Enclosure for Switch
or equivalent product
10F | 100 | foot | Trenching, conduit and fittings
10G | 36 | Months | Maintenance & warranty for technical services
TOTAL EXTENDED PRICE FOR ALL CONTRACT ITEMS 10: (10A THROUGH 10G) |  |  |  |  | 0
*GRAND TOTAL EXTENDED COSTS = THE SUM OF ALL EXTENDED CONTRACT ITEM COSTS QUOTED |  |  |  | *GRAND TOTAL EXTENDED COST | 0
VENDOR SHOULD WRITE "nb" FOR NO BID FOR ANY ITEM NOT BEING BID
CONTRACT WILL BE AWARDED TO THE VENDOR WITH THE LOWEST GRAND TOTAL EXTENDED COST MEETING SPECIFICATIONS.
VENDOR INFORMATION:
Name: |  |  | __________________________________________________________________ | Date: ______________________________
Address: |  |  | __________________________________________________________________
__________________________________________________________________
__________________________________________________________________
Phone #: |  |  | __________________________________________________________________
E-mail Address: |  |  | __________________________________________________________________